FACILITY INSPECTION FORM 1ST AND 15TH OF MONTH ** FUEL **

| Date: | X = Satisfactory |
| --- | --- |
| Time: | O = Repair or Adjustment Required |
| Inspector: | C = Comment under Remarks/Recommendations |

| Tank Truck Unloading Area |  |  |
| --- | --- | --- |
|  | Fill cap spill buckets free of spill & water |  |
| Under Ground Storage Tanks (USTs)Monthly _________________________ Under dock pipes | Check sump spill buckets for signs of leaks |  |
|  | Valves, flanges, and gaskets free from leaks |  |
|  | Above ground Vents not obstructed |  |
|  | Leak alarms tested |  |
|  | No leaks at valves, flanges, or other fittings |  |
|  | No signs of corrosion damage to pipeline or supports |  |
| Dispensers | Check nozzles and fittings for leakage |  |
|  | Check hoses for cracks or leaks |  |
|  | Open panel- check fittings for leakage |  |
|  | Check frames or signs for needed repairs |  |
| Security | Product fills locked when not in use |  |
|  | Starter control for pumps locked when not in use |  |
|  | Lighting is working properly |  |
|  | Cameras in working order and recording |  |
|  | Fence and gates intact |  |
| Spill Materials | Spill kit inventory satisfactory at Dock__________bulkhead |  |
| Training | Training records are in order (monthly check) |  |
|  | New employees trained (monthly check) |  |

W

# Text boxes

Remarks/Recommendations